## Slide 1
FINAL YEAR PROJECT · 2026
NeuroLens AI
Brain Tumor Detection
Using Deep Learning
A Comparative Study of CNN · Transfer Learning · Vision Transformer
Presented by: Archisman Das
GitHub: github.com/archisman-das/Neuro-Lens-AI
Notes: Welcome everyone. Today I'll present NeuroLens AI — a deep learning system for automated brain tumor detection from MRI scans. This project compares three model architectures: CNN, Transfer Learning with ResNet50, and a hybrid Vision Transformer. Let me walk you through the full pipeline from motivation to results.

## Slide 2
Introduction
Setting the Stage
Brain tumors are among the most lethal neurological conditions worldwide.
Early detection significantly improves patient survival outcomes.
Current diagnosis relies on manual MRI interpretation by radiologists.
This process is time-consuming, subjective & expertise-dependent.
Deep Learning offers a paradigm shift in medical image analysis.
GLOBAL IMPACT
308,000+
new brain tumor cases yearly
~6.9%
5-year survival for glioblastoma
30–40%
diagnostic error rate (manual)
97.5%+
NeuroLens AI accuracy achieved
Notes: Brain tumors cause devastating outcomes. The manual diagnostic pipeline is slow and error-prone. NeuroLens AI addresses this gap with an automated, interpretable deep learning framework.

## Slide 3
Problem Statement
What are we solving?
f(x) → { tumor, no_tumor }
Binary Classification: x ∈ ℝ^(H×W×C) → Binary Label
KEY CHALLENGES
Intra-class variability in tumor size, shape & location
Class imbalance in clinical datasets
Limited labeled medical data available
Interpretability required for clinical trust
Generalization across different MRI protocols
SUCCESS CRITERIA
Accuracy
> 95%
ROC AUC
> 0.95
Saliency Maps
Biologically Plausible
Deployment
Web Dashboard Interface
Notes: The core task is binary classification of MRI images. I'll explain five key challenges we faced and the four measurable success criteria that defined project completion.

## Slide 4
Motivation
Why build NeuroLens AI?
Clinical Need
Radiologist shortages leave millions without timely diagnosis globally.
AI Potential
Deep learning has matched expert performance in multiple imaging tasks.
Access Gap
Remote regions lack specialized neuroimaging expertise entirely.
Explainability
Clinicians need visual proof — not just predictions — to trust AI.
Innovation
Comparing CNN, TL & ViT on one task reveals architecture trade-offs.
Deployment
A practical web dashboard bridges research and real-world clinical use.
Notes: The motivation is multi-faceted: urgent clinical need, proven AI potential, global access gaps, the explainability requirement for trust, scientific curiosity, and practical deployment impact.

## Slide 5
Project Objectives
What NeuroLens AI aims to achieve
01
Design & train three model architectures: CNN, Transfer Learning (ResNet50), and hybrid Vision Transformer
02
Achieve >95% accuracy and >0.95 ROC AUC on a balanced 400-sample MRI test set
03
Implement Grad-CAM and ViT patch saliency for visual explainability of predictions
04
Build a browser-based dashboard for real-time MRI upload and inference
05
Benchmark all three architectures systematically under identical experimental conditions
06
Provide clinical-support insights on model trade-offs for medical deployment
Notes: Six clear objectives drive the project. Each is measurable. Note that objectives 1-3 are technical, 4 is deployment, 5 is scientific benchmarking, and 6 is clinical impact.

## Slide 6
Existing / Traditional Methods
How brain tumors are currently detected
Manual MRI
Reading
Radiologists visually inspect each MRI slice for tumor indicators.
Classical CV
Techniques
Morphological operations, GLCM, LBP texture descriptors, SVMs.
Threshold-
based Seg.
Simple intensity thresholding to segment potential tumor regions.
Biopsy &
Pathology
Invasive tissue sampling — gold standard but delayed & risky.
PERFORMANCE SNAPSHOT (Traditional vs AI)
Method | Accuracy | Interpretable | Scalable
Manual Radiology | ~70–85% | ✓ Yes | ✗ No
Classical CV (SVM) | ~75–90% | Partial | Partial
NeuroLens AI (CNN) | 97.5% | ✓ Grad-CAM | ✓ Yes
Notes: Traditional methods rely on manual expertise or simple computer vision. They suffer from subjectivity and limited scalability. NeuroLens AI dramatically improves on all fronts.

## Slide 7
Limitations of Existing Methods
Why traditional approaches fall short
Time & Workload
Manual analysis of thousands of MRI slices is extremely time-consuming. Radiologist fatigue leads to diagnostic errors.
Subjectivity
Two radiologists may disagree on the same scan. Diagnostic accuracy varies significantly by experience level.
Scalability
Expert radiologists are scarce in rural/low-income regions. Manual methods cannot scale to population-level screening.
Feature Engineering
Classical CV requires hand-crafted features (GLCM, LBP). These miss complex patterns that deep networks capture automatically.
No Uncertainty Estimate
Traditional methods rarely quantify diagnostic confidence or provide probability scores for clinical decision-making.
Black-box Decisions
Even AI tools without explainability are not accepted in clinical settings. Clinicians need visual evidence.
Notes: Six critical limitations motivate our AI-based approach. Emphasize that no single existing method addresses all of them simultaneously — but NeuroLens AI does.

## Slide 8
Proposed System: NeuroLens AI
An automated, explainable MRI classification pipeline
CNN + Transfer Learning + Vision Transformer → Ensemble Comparative Analysis → Explainable Web Dashboard
CNN Baseline
Custom architecture trained from scratch. 3 Conv blocks + GAP + Dense. Lightweight & fast.
Accuracy:
97.50%
ROC AUC:
0.9928
Transfer Learning
ResNet50 ImageNet backbone. Frozen → Fine-tuned head. Rich feature representations.
Accuracy:
98.25%
ROC AUC:
0.9956
Vision Transformer
Hybrid ViT: ResNet50 extractor + Transformer encoder + [CLS] token classification.
Accuracy:
98.00%
ROC AUC:
0.9975
Notes: NeuroLens AI is a complete pipeline: three trained models, a comparative analytics layer, and a visual explainability+dashboard layer. All running locally without cloud dependency.

## Slide 9
System Architecture
End-to-end pipeline overview
MRI
Image Input
Preprocess
& Augment
Model
Inference
Prediction
Output
Explainability
& Report
▶
▶
▶
▶
Input
· MRI JPEG/PNG
· 224×224 px
· RGB channels
· Tumor / No Tumor
Preprocessing
· Resize 224×224
· Normalize [0,1]
· Random Flip
· Rotation/Zoom
· Brightness Adj.
Models
CNN
Transfer (ResNet50)
Vision Transformer
Output
· Tumor / No Tumor
· Confidence Score
· Probability
· Model Weights
· JSON Metrics
Explain
· Grad-CAM Heatmap
· ViT Patch Saliency
· Overlay Images
· PDF Report
· Web Dashboard
Notes: Walk through each stage of the pipeline: input MRI → preprocessing → parallel model inference → prediction output → explainability and web reporting. Everything runs locally.

## Slide 10
Workflow Diagram
Step-by-step process flow
1
Upload MRI Scan
User selects .jpg/.png file via dashboard
2
Preprocessing
Resize → Normalize → Augment
3
Feature Extraction
CNN conv layers / ResNet50 backbone
4
Classification
Sigmoid output → Tumor / No Tumor
5
Confidence Score
Probability score per model (0.0–1.0)
6
Explainability
Grad-CAM / ViT attention saliency maps
7
Comparative Study
CNN vs TL vs ViT side-by-side analysis
8
Report & Dashboard
Visual results + downloadable PDF report
▼
▼
▼
▼
▼
▼
→
PARALLEL
PIPELINE
Notes: The workflow has 8 clear steps. Steps 1-4 form the prediction pipeline, steps 5-8 are the output/explainability pipeline. They run in parallel for all three models simultaneously.

## Slide 11
Dataset Information
MRI dataset used for training and evaluation
DATASET OVERVIEW
Task:
Binary Classification
Classes:
tumor / no_tumor
Image Format:
JPEG / PNG
Input Size:
224 × 224 px
Channels:
RGB (3-channel)
Test Set Size:
400 samples (balanced)
Test Split:
200 tumor + 200 no_tumor
Splits:
Train / Val / Test
DATA SPLIT (Test Set)
Chart: 
| Tumor (Positive) | No Tumor (Negative)
Distribution | 200 | 200
DIRECTORY STRUCTURE
dataset/
├── train/tumor/ train/no_tumor/
├── val/tumor/ val/no_tumor/
└── test/tumor/ test/no_tumor/
Notes: The dataset is perfectly balanced at 200 tumor + 200 no_tumor in the test set — this ensures accuracy metrics are not confounded by class imbalance. Images are organized in class subfolders for automatic label inference.

## Slide 12
Data Preprocessing Techniques
Preparing MRI images for deep learning
Image Loading
tf.keras.preprocessing.image_dataset_from_directory() with auto label inference from folder names.
Resizing
All images uniformly resized to 224×224 pixels — compatible with CNN, ResNet50 and ViT architectures.
Normalization
Pixel values rescaled from [0,255] to [0,1] using rescaling layers embedded within each model.
Dataset Pipeline
TensorFlow tf.data pipeline with prefetch() and cache() for GPU-optimized data loading.
CODE SNIPPET
train_ds = tf.keras
.preprocessing
.image_dataset_from_directory(
'dataset/train',
image_size=(224,224),
batch_size=32,
label_mode='binary'
)
# Normalization layer
norm = Rescaling(1./255)
train_ds = train_ds.map(
lambda x,y: (norm(x),y)
)
Notes: Preprocessing is the foundation. Consistent sizing (224×224) ensures compatibility across all three architectures. The TF data pipeline with prefetch dramatically speeds up training.

## Slide 13
Data Augmentation Strategy
Improving generalization to unseen MRI scans
Why Augment?
Medical datasets are expensive and small. Augmentation artificially expands training variety without new data collection.
Horizontal Flip
Mimics mirror-image brain scans
Vertical Flip
Handles inverted scan orientations
Random Rotation
±15° covers scan angle variation
Zoom In/Out
Simulates varying scan distances
Brightness Shift
Compensates MRI contrast variations
Width/Height Shift
Addresses off-center patient positioning
Notes: Six augmentation techniques directly address real-world MRI variation sources: scanner orientation, patient positioning, contrast protocols, and physical scan angles. Each has a clinical justification.

## Slide 14
Deep Learning Architectures
Three models — one task
CNN Baseline
Input Layer
224×224×3
Conv Block 1
Conv2D + BN + ReLU + MaxPool
Conv Block 2
Conv2D + BN + ReLU + MaxPool
Conv Block 3
Conv2D + BN + ReLU + MaxPool
Global Avg Pool
Spatial → Vector
Dropout
Regularization
Dense + Sigmoid
Binary Output
Transfer Learning (ResNet50)
ImageNet Weights
Pre-trained on 1.2M images
ResNet50 Backbone
50-layer residual network
Frozen Phase
Train head only (Phase 1)
Unfreeze & Fine-tune
Lower LR deeper layers (Phase 2)
Global Avg Pool
Feature map → Vector
Dense + Dropout
Task-specific head
Dense + Sigmoid
Binary Output
Hybrid Vision Transformer
ResNet50 Backbone
Frozen feature extractor
Patch Tokenization
Spatial features → Token sequence
Positional Embedding
Encode spatial location info
[CLS] Token
Learnable classification token
Transformer Encoder
MHSA + FFN + LayerNorm
[CLS] Aggregation
Global context representation
Dense + Sigmoid
Binary Output
Notes: Three architectures, three philosophies: CNN learns local features hierarchically, Transfer Learning adapts global ImageNet representations, and the Vision Transformer uses self-attention to capture global spatial context.

## Slide 15
Why These Models Were Chosen
Design rationale for a comparative study
CNN Baseline
Established benchmark for image classification
Lightweight — fast inference, low hardware requirement
Clear interpretability via Grad-CAM visualization
Strong baseline: 97.5% accuracy from scratch
ResNet50 Transfer Learning
Pre-trained on 1.2M ImageNet images — rich features
Residual connections prevent vanishing gradients
Proven top performer on limited medical datasets
Highest accuracy achieved: 98.25% after fine-tuning
Hybrid Vision Transformer
Captures global spatial dependencies in MRI
Self-attention highlights long-range tumor context
Highest ROC AUC: 0.9975 — best discrimination
Near-perfect specificity (99.5%) for safe screening
Notes: Each model was chosen with purpose. CNN as the interpretable baseline, ResNet50 for transfer power, and ViT for its unique ability to model global spatial dependencies — which is particularly relevant for MRI tumor spread patterns.

## Slide 16
Training Process
How each model was trained
Phase 1
Data Prep
Augmentation pipeline
Train/Val/Test split
tf.data prefetch
Phase 2
Model Build
Architecture design
Layer stacking
Compilation
Phase 3
Initial Train
Frozen backbone (TL)
Head-only training
Early monitoring
Phase 4
Fine-tuning
Unfreeze deep layers
Lower LR (1e-5)
Optimization
Phase 5
Evaluation
Test set scoring
Metrics + confusion
JSON export
→
→
→
→
TRAINING COMMANDS
python src/train.py --model cnn --dataset dataset --epochs 10 --batch_size 32
python src/train.py --model transfer --dataset dataset --epochs 10 --batch_size 32
python src/train.py --model vit --dataset dataset --epochs 10 --batch_size 32
Checkpoints saved to: artifacts/<model>/best_weights.weights.h5 · Training history exported as .npz
Notes: Training has 5 phases. For Transfer Learning, phase 3 trains only the head (backbone frozen), then phase 4 fine-tunes deeper layers. All models trained for 10 epochs with Adam optimizer and binary crossentropy loss.

## Slide 17
Hyperparameters & Configuration
Experimental setup details
Parameter | CNN Baseline | Transfer (ResNet50) | Vision Transformer
Optimizer | Adam | Adam | Adam
Loss Function | Binary Crossentropy | Binary Crossentropy | Binary Crossentropy
Learning Rate | 1e-4 (default) | 1e-4 → 1e-5 (fine-tune) | 1e-4 (default)
Batch Size | 32 | 32 | 32
Epochs | 10 | 10 (+ fine-tune) | 10
Image Size | 224×224 | 224×224 | 224×224
Backbone | None (scratch) | ResNet50 (ImageNet) | ResNet50 (frozen)
Output Activation | Sigmoid | Sigmoid | Sigmoid
Regularization | Dropout | Dropout | LayerNorm + Dropout
Metrics | Accuracy, Precision, Recall | Accuracy, Precision, Recall | Accuracy, Precision, Recall
Notes: All three models share core hyperparameters for fair comparison. Key difference: Transfer Learning uses a two-phase learning rate schedule. The ViT uses LayerNorm instead of BatchNorm for stability in attention layers.

## Slide 18
Model Evaluation Metrics
How we measure performance
Accuracy
Overall correctness
Correctly classified / Total samples
= (TP + TN) / (TP+TN+FP+FN)
Precision
Minimize false alarms
TP / (TP + FP)
Of predicted tumors, how many were real?
Recall
Minimize missed tumors
TP / (TP + FN)
Of real tumors, how many did we catch?
F1 Score
Balanced performance
Harmonic mean of Precision & Recall
2 × (P × R) / (P + R)
ROC AUC
Threshold-independent
Area Under the ROC Curve
Measures discrimination capability
Confusion Matrix
Detailed error analysis
TP / TN / FP / FN
Full error breakdown per class
Notes: Clinical context matters for metric choice: Recall (sensitivity) is critical — missing a tumor is far more dangerous than a false alarm. ROC AUC is threshold-independent, making it ideal for comparing models across screening scenarios.

## Slide 19
Accuracy & Loss Analysis
Training convergence across all three models
Final Test Accuracy Comparison
Chart: 
| CNN | Transfer Learning | Vision Transformer
Accuracy | 97.5 | 98.25 | 98
ROC AUC Comparison
Chart: 
| CNN | Transfer Learning | Vision Transformer
ROC AUC | 99.28 | 99.56 | 99.75
★ ViT achieves highest ROC AUC (0.9975) — ideal for clinical screening · Transfer Learning achieves highest accuracy (98.25%) · CNN is strongest lightweight baseline (97.5%)
Notes: All models exceed 97.5% accuracy — all surpass the 95% success criterion. The ViT's highest ROC AUC means it has the best ability to rank positive vs negative cases, regardless of decision threshold.

## Slide 20
Prediction Results & Confusion Matrix
Detailed model performance breakdown
FINAL EVALUATION RESULTS (400-sample balanced test set)
Model | Accuracy | Precision | Recall | F1 Score | ROC AUC
CNN Baseline | 0.9750 | 0.9754 | 0.9750 | 0.9750 | 0.9928
Transfer Learning | 0.9825 ★ | 0.9828 | 0.9825 | 0.9825 | 0.9956
Vision Transformer | 0.9800 | 0.9804 | 0.9800 | 0.9800 | 0.9975 ★
CONFUSION MATRICES
CNN Baseline
TN: 198
FP: 2
FN: 8
TP: 192
Predicted Negative / Positive
Transfer Learning
TN: 197
FP: 3
FN: 4
TP: 196
Predicted Negative / Positive
Vision Transformer
TN: 199
FP: 1
FN: 7
TP: 193
Predicted Negative / Positive
Notes: ViT achieves the lowest false positive rate (1/200 = 0.5%) — making it the safest option for population screening where falsely alarming a healthy patient is costly and distressing.

## Slide 21
Dashboard / Web Interface
NeuroLens AI — local web application
Fig 1: Main dashboard — MRI upload, pipeline controls & live results
Fig 3: Model Analytics — accuracy, precision, recall per model
Search Bar:
Patient / Scan ID / Report lookup
Upload Panel:
Choose MRI → Run Analysis button
Status Cards:
Tumor status, type, confidence, time
Model Analytics:
Per-model accuracy, precision, recall, F1
Notes: The dashboard runs locally on the user's machine. Key UX features: single-button analysis, live status cards showing tumor probability and processing time, and a full model analytics panel.

## Slide 22
Live Prediction Workflow
From MRI upload to diagnosis in real-time
Fig 2: MRI Viewer + multi-model prediction results
Fig 4: Activity timeline & comparative study summary
CNN:
Tumor detected · 1.000 confidence
Transfer Learning:
Tumor detected · 1.000 confidence
Vision Transformer:
Tumor detected · 0.999 confidence
★ 3/3 models agreed. Comparative analysis in 37.2s.
Notes: This is a real run result from the dashboard on tumor_00015.jpg. All three models independently agree on the diagnosis with near-perfect confidence. The comparative analysis runs in just 7.2 seconds.

## Slide 23
Key Features of the System
What makes NeuroLens AI stand out
3-Model Ensemble
CNN, Transfer Learning & ViT running in parallel on the same scan.
Grad-CAM Explainability
Visual heatmaps showing exactly which MRI regions triggered detection.
Comparative Analytics
Side-by-side accuracy, precision, recall, F1 & confidence for all models.
Real-time Inference
Upload → Analyze in seconds. No cloud needed — fully local execution.
Clinically Safe Design
Minimizes false positives. ViT achieves 99.5% specificity.
Activity Timeline
Full log of analysis actions, timestamps and model comparison summary.
Modular Architecture
Each model independently trainable, evaluatable and swappable.
Patient Report Ready
Patient ID, scan type, and analysis output captured for reporting.
Notes: Eight distinct features differentiate NeuroLens AI. Emphasize the combination of accuracy + explainability + local deployment as the unique value proposition for clinical-support use.

## Slide 24
Challenges Faced During Development
Technical and domain hurdles overcome
Domain Gap
MRI images differ fundamentally from ImageNet photos. ResNet50 fine-tuning required careful LR scheduling to adapt ImageNet features to medical context.
Initial TL Underperformance
Transfer Learning initially scored only 85.75% accuracy due to suboptimal backbone freezing strategy. Fixed via 2-phase training.
ViT Data Requirements
Transformers typically need large datasets. Hybrid ViT (ResNet50 + attention) solved this by leveraging CNN feature extraction as preprocessing.
Grad-CAM for ViT
Standard Grad-CAM is not applicable to transformers. Implemented ViT-specific patch saliency via [CLS] token attention weight extraction.
Dashboard Integration
Aligning model checkpoint paths, metric JSON files and the Streamlit dashboard required careful artifact versioning and path management.
Class Imbalance
Raw dataset had potential class imbalance. Addressed via balanced 200+200 test split and augmentation of minority class during training.
Notes: Six major challenges, all solved. The most interesting: adapting Grad-CAM to the ViT architecture required understanding attention mechanics at a deep level. The 2-phase TL training was the key insight for performance recovery.

## Slide 25
Future Improvements & Scope
Roadmap toward production-grade clinical AI
Multi-class Classification
Extend beyond binary to glioma, meningioma, pituitary tumor & no tumor — enabling treatment-specific routing.
HIGH IMPACT
3D Volumetric MRI
Process full MRI volumes with 3D CNNs or volumetric transformers for inter-slice context.
HIGH IMPACT
Federated Learning
Train across multiple hospital sites without centralizing patient data — HIPAA/GDPR compliant.
HIGH IMPACT
Uncertainty Quantification
Bayesian/MC-Dropout confidence intervals to flag low-confidence predictions for human review.
CLINICAL SAFETY
DICOM Support
Native DICOM file format ingestion for seamless hospital PACS system integration.
DEPLOYMENT
MLOps & Versioning
Experiment tracking, automated model deployment pipelines and artifact versioning via MLflow/DVC.
ENGINEERING
GAN Data Augmentation
Synthetic MRI generation via GANs to expand training distribution and rare tumor type coverage.
DATA
Notes: Seven future directions, prioritized by impact. Multi-class classification is the single highest-value addition. Federated learning is necessary for real-world healthcare deployment given data privacy regulations.

## Slide 26
Real-World Applications
Where NeuroLens AI creates clinical impact
Clinical Decision Support
Radiologists use NeuroLens AI as a second-opinion tool, prioritizing flagged scans for urgent review. Grad-CAM overlays let doctors verify AI decisions.
Telemedicine & Remote Screening
Healthcare workers in underserved regions upload scans via browser dashboard and receive instant results without specialist access.
Hospital Triage Automation
High-volume radiology workflows integrate NeuroLens AI to auto-prioritize suspected tumor cases, reducing time-to-diagnosis for critical patients.
Research Benchmarking
Modular JSON metrics enable automated performance tracking for new model architectures on standardized MRI classification tasks.
Medical Education
Trainees examine Grad-CAM heatmaps to build intuition about how AI identifies tumor regions — bridging pathology and AI methodology.
Notes: Five application domains, each with a distinct user group. The unifying theme: NeuroLens AI extends diagnostic reach, reduces workload, and maintains clinical trust through explainability.

## Slide 27
Conclusion
What NeuroLens AI has demonstrated
✓ Three architectures, all clinically competitive.
CNN (97.5%), Transfer Learning (98.25%), Vision Transformer (98.0%) — all exceed the 95% success criterion.
✓ Transfer Learning achieves the highest accuracy.
98.25% with 0.9956 ROC AUC after two-phase fine-tuning of ResNet50 backbone.
✓ Vision Transformer delivers the highest ROC AUC.
0.9975 AUC and 99.5% specificity — ideal for population-level screening with minimal false alarms.
✓ Explainability builds clinical trust.
Grad-CAM and ViT patch saliency maps provide visual proof of model decisions for radiologist verification.
✓ Local deployment is practical and privacy-preserving.
Web dashboard enables real-time inference without cloud dependency, protecting patient data.
NeuroLens AI — A modular, interpretable, multi-architecture deep learning framework for reliable brain tumor detection.
Notes: Summarize the five key takeaways. Emphasize that this is a complete, end-to-end system — not just a model, but a full clinical-support tool with explainability and deployment infrastructure.

## Slide 28
Thank You
Questions & Discussion
Archisman Das
Notes: Open the floor for questions. Be ready to discuss: (1) Why ViT needs the ResNet50 hybrid, (2) How Grad-CAM works mechanically, (3) The 85.75% → 98.25% Transfer Learning improvement story, (4) Future clinical deployment plans.